**Forms relating to the BID**

|  |
| --- |
| **Form 2.1**  **BID** |

National Centre for Nuclear Research

ul. Andrzeja Sołtana 7,

05-400 Otwock

Referring to the contract notice in the procedure for the award of a public contract for:

**Delivery of magnets**

Procedure reference no.: **EZP.270.80.2023**

first name: .......................................................................................................................\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

last name: ..............................................................................................................

basis for representation: ................................................................................

acting for and on behalf of the CONTRACTOR

*Note:*

*if a tender is submitted by entities acting jointly, provide the following details for all members of the civil partnership or the consortium*

name (company): .......................................................................................................................

registered address: .......................................................................................................................

province: .......................................................................................................................

National Court Register (KRS) number: .......................................................................................................................

ENTERPRISE ID: .......................................................................................................................

Tax ID: .......................................................................................................................

being a micro enterprise **\***

being a small enterprise **\***

being a medium-sized enterprise **\***

being a sole trader **\***

being a natural person not pursuing an economic activity **\***

different kind **\***

*\* please tick/indicate as appropriate*

*The definition of micro, small and medium entrepreneur can be found in Article 7(1)(1), (2) and (3) of the Act of 6 March 2018 - Entrepreneurs' Law (i.e. Journal of Laws 2021, item 162)*

1. **I/WE SUBMIT A TENDER** for the execution of the subject matter of the Contract in accordance with the Tender Specification for this procedure.
2. **I/WE DECLARE** that we have read the Tender Specification, as well as the explanations and amendments to the Tender Specification provided by the Contracting Authority, and we consider ourselves bound by the provisions and rules of procedure defined in them.
3. **I/WE OFFER** to perform the subject matter of the contract for **the total price:**

**...............................PLN/EUR/USD (say: .............................................................zł/euro/dolar),** *in accordance with the Price Form enclosed with the offer.*

1. **I/WE INFORM** that*[[1]](#footnote-1)*:
2. the selection of the tender **will not\***lead to the creation of a tax obligation for the Contracting Authority.
3. the selection of the tender **will\***lead to the creation of a tax obligation for the Contracting Authority

* for the following *goods/services (depending on the subject-matter of the contract)*: ..................................................................................
* the value of *goods/services* *(depending on the subject matter of the contract)* causing tax obligation for the Contracting Authority is PLN ........................................................... net
* value added tax rate ........................%, which, to the knowledge of the Contractor, will apply.

1. **I/WE INTEND** to entrust part of the contract to the following subcontractors (give names of subcontractors if already known): \_\_\_\_\_\_\_\_\_\_\_\_\_
2. **I/WE DECLARE** to execute the order to perform the contract within the timeframe specified in SWZ.
3. **WE ACCEPT** the payment conditions specified by the Contracting Authority in the Specification.
4. **WE ARE** bound by our tender for the period indicated in the Specification.
5. **WE DECLARE** that the information and documents contained in a separate, appropriately marked and named annex .............. *(please specify the name of the attachment)* are a business secret within the meaning of the provisions on combating unfair competition, which we have demonstrated in the attachment ............. *(please specify the name of the attachment)* and we reserve the right not to disclose them.
6. **WE DECLARE** that we are acquainted with the material provisions of the contract specified in the Specification and we undertake, in case of selection of our tender, to conclude a contract consistent with this tender, under the conditions specified in the Specification, at the place and time designated by the Contracting Authority.
7. **WE DECLARE** that we have complied with the information obligations provided for in Article 13 or Article 14 of the GDPR[[2]](#footnote-2) towards natural persons from whom we have directly or indirectly obtained personal data in order to apply for the award of a public contract in this procedure, and whose data has been communicated to the Contracting Authority as part of the contract[[3]](#footnote-3).
8. WE DECLARE that the company's registration documents (e.g. information from the National Court Register, Central Business Activity Register or other relevant register) are available in electronic form at the following internet addresses of publicly available and free databases (tick as appropriate or provide website address).

⃣ https://prod.ceidg.gov.pl

⃣ <https://ekrs.ms.gov.pl>

⃣ https: ………………………………

1. THE **CONTACT PERSON for** these proceedings is:

First and last name: .......................................................................................................tel. ................................................. e-mail: ...................................................

1. **LIST of enclosed declarations and documents:** *(list all statements and documents submitted, etc.)*:

....................................................................................................... ....................................................................................................... .......................................................................................................

............................... on................................

*......................................................................................*

*(qualified electronic signature of person  
authorized to represent the Contractor****)***

\*delete as appropriate

|  |  |
| --- | --- |
| (name of Contractor(s)) | **FORM 2.2.**  **“LIST OF TECHNICAL PARAMETERS”** |

Concerning the procedure for the award of a public contract entitled**:   
Delivery of magnets**

Procedure reference no.: **EZP.270.80.2023**

**I Technical parameters:**

|  |  |  |
| --- | --- | --- |
| **Dipole** **electromagnets**  **3 pcs.** | |  |
|  | Required parameter | Parameter offered:  \*)To be filled in by the Contractor indicating the specific parameter or leave a **YES or NO** |
| beam bend angle | 60° | **YES or NO** |
| gap width | ≥16 mm | **Obligation to define a parameter**  **.................** |
| flux at nominal current | >0.095 T | **Obligation to define a parameter**  **.................** |
| Fieled homogenity ΔB/B0 | < 10-3 | **Obligation to define a parameter**  **.................** |
| air convection cooled coils | | **YES or NO** |
| nominal current | < 8.5 A | **Obligation to define a parameter**  **.................** |
| Coils leakage current at 1 kV voltage applied | < 10 µA | **Obligation to define a parameter**  **.................** |
| Working temperature | ≤ 60 °C | **Obligation to define a parameter**  **.................** |
| yoke material | Armco | **YES or NO** |
| overall dimension: width,height, length | 240 mm 100 mm 240 mm | **YES or NO** |
| Colour | | Obligation to define a parameter  ................. |
| **Correctror dipoles 18 pcs** | | |
| beam bend angle at nominal current | 1 mrad | **YES or NO** |
| flux at nominal current | >0.95 T | Obligation to define a parameter  ................. |
| air cooled coils | | **YES or NO** |
| nominal current | < 8.5 A | Obligation to define a parameter  ................. |
| Coils leakage current at 1 kV voltage applied | < 10 µA | Obligation to define a parameter  ................. |
| Working temperature | ≤ 60 °C | Obligation to define a parameter  ................. |
| yoke material | Armco | **YES or NO** |
| Engineering design | Zgodny z rysunkami  Complinat to the Fig. 1.  PFL-Co\_A-00.00.00.00.00.pdf  PFL-Co\_A-00.00.00.00.01.pdf  PFL-Co\_A-00.00.00.00.02.pdf  PFL-Co\_A-00.00.00.00.03.pdf  PFL-Co\_A-00.00.00.00.04.pdf | **YES or NO** |
| Colour | | **Obligation to define a parameter**  **.................** |
| **Quadrupole magnets type 1,**  **2 pcs.** | |  |
| Right configuration | | YES or NO |
| Flux gradient | ≥ 6 T/m | Obligation to define a parameter  ................. |
| Magnetic field mulipole contributions for n <15 | Bn/B2 < 5·10-4 | Obligation to define a parameter  ................. |
| Bore diameter | ≥ 15 mm | Obligation to define a parameter  ................. |
| Flux integral over length at nominal current | >0.21 T | Obligation to define a parameter  ................. |
| air cooled coils | | YES or NO................. |
| nominal current | ≤5 A | Obligation to define a parameter  ................. |
| Coils leakage current at 1 kV voltage applied | < 10 µA | Obligation to define a parameter  ................. |
| Working temperature | ≤ 60 °C | **Obligation to define a parameter**  **.................** |
| yoke material | Armco | **YES or NO** |
| overall dimension: should fit to the box of width, height, length | 140 mm 180 mm 90 mm | **YES or NO** |
| Colour | | Obligation to define a parameter  ................. |
| **Quadrupole magnets type 2**  **5 pcs.** | |  |
| Right configuration | | **YES or NO** |
| Flux gradient | ≥8.7 T/m | Obligation to define a parameter  ................. |
| Pole magnetyczne, n < 15 | Bn/B2 < 5·10-4 | Obligation to define a parameter  ................. |
| Bore diameter | ≥ 15 mm | Obligation to define a parameter  ................. |
| Flux integral over length at nominal current | >0.55 T | Obligation to define a parameter  ................. |
| air cooled coils | | **YES or NO** |
| nominal current | ≤5 A | Obligation to define a parameter  ................. |
| Coils leakage current at 1 kV voltage applied | < 10 µA | Obligation to define a parameter  ................. |
| Working temperature | ≤ 60 °C | Obligation to define a parameter  ................. |
| yoke material | Armco | **YES or NO** |
| overall dimension: should fit to the box of width, height, length | 140 mm 180 mm 50 mm | **YES or NO** |
| Colour | | **Obligation to define a parameter**  **.................** |

*......................................................................................*

*(qualified electronic signature of person  
authorized to represent the Contractor****)***

**FORM 3.1.**

|  |
| --- |
| **STATEMENT**  **referred to in Article 125(1) of the PPL Act** |

Concerning the procedure for the award of a public contract entitled:  
**Delivery of magnets**

Procedure mark: **EZP.270.80.2023**

I/ME:

..................................................................................................................

*(name of person(s) authorised to represent)*

acting for and on behalf of:

..................................................................................................................

*(name of the Contractor/Vendor applying jointly for the award of the contract/entity providing the resources)*

* 1. I / we declare that the above-mentioned the entity is not subject to exclusion from the procedure pursuant to Art. 108 of the Public Procurement Law (Journal of Laws of 2022, item 1710) and in art. 7 sec. 1 of the Act on special solutions in the field of counteracting supporting aggression against Ukraine and serving the protection of national security [[4]](#footnote-4);
  2. I / we declare that in relation to the above-mentioned of the entity there are grounds for exclusion from the procedure specified in Art. ……… of the Public Procurement Law At the same time, I declare that in connection with the above-mentioned circumstances, I have taken corrective measures, referred to in Art. 110 of the Public Procurement Law , i.e .: …………………………………………………………………………………………………… ;
  3. I / we declare that all the information provided in the above statement is up-to-date and truthful and has been presented with full awareness of the consequences of misleading the Ordering Party in providing the information.

*......................................................................................  
(qualified electronic signature of person*

*authorized to represent the Contractor*)

**TOM IV Price Form**

Concerning the procedure for the award of a public contract entitled:  
**Delivery of magnets**

Procedure mark: **EZP.270.80.2023**

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | | **(name of Contractor(s)** | | | **PRICE FORM** | |
| **Name of the subject of the contract: Delivery of magnets** | | | | | | |
| **NAME OF THE SUBJECT MATTER** | | | **net price per unit  (for 1 pcs)**  **(in PLN/EUR/USD)** | **the net value**  **(in zł/EUR/USD)** | **VAT - if applicable  (in zł/EUR/USD)** | **total gross price**  **(in zł/EUR/USD)** |
| **1** | **2** | | **3** | **4** | **5** | **6** |
| **1.** | **Dipole electromagnets** | | **…………. for 1 pcs** | **…………. for 3 pcs** | **……. for 3 pcs** | **……. for 3 pcs** |
| **2.** | **Dipole corrector electromagnets** | | **…………. for 1 pcs** | **…………. for 18 pcs** | **…………. for**  **18pcs** | **…………. for**  **18pcs** |
| **3.** | **Quadrupole electromagnets type 1** | | **…………. for 1 pcs** | **…………. for 2 pcs** | **…………. for 2 pcs** | **…………. for 2 pcs** |
| **4.** | **Quadrupole electromagnets type2** | | **…………. for 1 pcs** | **…………. for 5 pcs** | **…………. for 5 pcs** | **…………. for 5 pcs** |
|  | **TOTAL GROSS PRICE\*** | | | | |  |

*\*) the calculated TOTAL GROSS PRICE should be transferred to the preliminary valuation form (point 3)*

*......................................................................................*

*(qualified electronic signature of person  
authorized to represent the Contractor****)***

1. *applies to Contractors* *whose tenders will generate the obligation to add VAT to the net value of the tender, i.e. in the case of*

   * *intra-Community acquisitions of goods,*
   * *the importation of services or the importation of goods, which involves the obligation for the Contracting Authority to add VAT when comparing tender prices.*

   [↑](#footnote-ref-1)
2. Regulation (EU) 2016/679 of the European Parliament and of the Council of 27 April 2016 on the protection of natural persons with regard to the processing of personal data and on the free movement of such data, and repealing Directive 95/46/EC (General Data Protection Regulation) (OJ EU L 119 of 04.05.2016, p. 1). [↑](#footnote-ref-2)
3. If the Contractor does not provide personal data other than those directly concerning him or the application of the information obligation is excluded, pursuant to Art. 13 (4) or Art. 14 (5) of the GDPR the content of the declaration shall not be submitted by the Contractor (delete the content of the declaration, e.g. by crossing it out). [↑](#footnote-ref-3)
4. Act of April 13, 2022 - on special solutions in the field of counteracting supporting aggression against Ukraine and serving the protection of national security (Journal of Laws of 2022, item 835) [↑](#footnote-ref-4)